Office of Occupational Health and Safety, Animal Welfare and Environmental Protection

# Safety Guidelines

Autoclaves

University of Würzburg

Last update:

Workplace/activity:

| ## Safety, health, and environmental risks |  |
| --- | --- |
|  | - Delayed boiling occurring when autoclave is opened or basket is moved. - Heat burns from hot materials and autoclave chamber, walls, and door. |
| ### Safety practices |  |
|  | - Always follow manufacturer’s instructions (posted near autoclave). - Wear full face protection and heat-resistant gloves when opening autoclave. - Do not open lid until system has depressurised and temperature has fallen to below 80°C. Caution! Allow viscous liquids, such as agar solution, to cool to 60°C or lower. |
| ### What to do in the event of malfunction |  |
|  | - If you notice anything abnormal, turn off autoclave and notify supervisor. - In the event of fire, attempt to extinguish with C02 extinguisher but only if you can do so without putting yourself in danger. |
| What to do after an accident |  |
|  | - Disconnect autoclave from power supply. - Move injured persons to a safe area. - Immediately call 112 to alert emergency responders. - Render first aid. - Immediately report accident. |
| Maintenance, waste disposal |  |
|  | All replacement parts must be equivalent to original manufacturer parts in terms of make and material. Always follow manufacturer’s maintenance schedule! All repairs must be performed by qualified personnel. Contact the competent official or the Office of Occupational Health and Safety, Animal Welfare and Environmental Protection (phone: 31-82684) if the scheduled preventive maintenance is overdue. |

…………………………………….                                                        ……………………………………………….

Date                                                                                                    Signature

June 2021