**University of Würzburg**



Office of Occupational Health and Safety, Animal Welfare and Environmental Protection

# Safety Guidelines

**Autoclaves**

Last update:

Workplace/activity:

|  |
| --- |
|  **Safety, health, and environmental risks** |
|  | - Delayed boiling occurring when autoclave is opened or basket is moved.- Heat burns from hot materials and autoclave chamber, walls, and door. |
| Safety practices |
|    | - Always follow manufacturer’s instructions (posted near autoclave).- Wear full face protection and heat-resistant gloves when opening autoclave.- Do not open lid until system has depressurised and temperature has fallen to below 80°C.**Caution!** Allow viscous liquids, such as agar solution, to cool to 60°C or lower. |
| What to do in the event of malfunction |
|  | - If you notice anything abnormal, turn off autoclave and notify supervisor.- In the event of fire, attempt to extinguish with C02 extinguisher but only if you can do so without putting yourself in danger. |
| **What to do after an accident** |
|    | - Disconnect autoclave from power supply.- Move injured persons to a safe area.- Immediately call **112** to alert emergency responders.- Render first aid.- Immediately report accident. |
| **Maintenance, waste disposal** |
|  | All replacement parts must be equivalent to original manufacturer parts in terms of make and material. Always follow manufacturer’s maintenance schedule!All repairs must be performed by qualified personnel.**Contact the competent official or the Office of Occupational Health and Safety, Animal Welfare and Environmental Protection (phone: 31-82684) if the scheduled preventive maintenance is overdue.** |

……………………………………. ……………………………………………….

Date Signature

|  |
| --- |
| June 2021 |